Attachment 21

Analytical Instrument Verification Process

Table of Contents 1.0 Overview 1.1 Purpose 1.2 Scope 1.3 Implementation 1.4 Responsibility 2.0 Requirements 2.1 Verification Activities 2.2 Analytical Instrument Templates

1.0 Overview

1.1 Purpose

Analytical Instrument verification must follow the requirements of XYZ, Analytical Instrument and Lab Equipment Qualification Process.

This document describes activities for analytical instrument verification including recommendations for tolerances for specific parameters for calibration, and frequencies for calibration, testing, preventive maintenance and qualification.

1.2 Scope

The scope of this document is defined in the Scope section of XYZ.

1.3 Implementation

Implementation is in accordance with Effective Date.

Laboratory instrument qualification prior to the effective date of this policy may be executed according to the documents in effect at that time.

Existing laboratory instrument qualifications will be updated, as appropriate, through the periodic review as documented in the Validation Master Plan.

1.4 Responsibility

The owner organizations of the qualified analytical instruments in the scope of this document and the associated Validation Review Boards (VRBs) are responsible for assuring compliance with xyz’s qualification policy and process document requirements.

2.0 Requirements

2.1 Verification Activities

Some instruments require periodic verification of their functionality on an annual or time of use basis. This verification is a confirmation by examination and provision of objective evidence that the specified analytical instrument requirements have been fulfilled.  Verification of some parameters may be performed during installation or operational qualification. A qualified individual should perform these activities, e.g., vendor service representative, qualified in-house instrument repair shop personnel, etc.  No VCR is required for the calibration or maintenance portions of the instrument verification.  A VCR is required when any elements of qualification or requalification are executed.  Refer to Attachment A for specific activities and recommended schedules and tolerances for instrument verification.

2.2 Analytical Instrument Templates

Templates related to the qualification of analytical instruments may be found on xyz. Templates specific to xyz are indexed with xyz.

ATTACHMENT A

HPLC Verification Table Part I

ATTACHMENT A

HPLC Verification Table Part II

ATTACHMENT A

GC Verification Table Part I

ATTACHMENT A

GC Verification Table Part II

ATTACHMENT A

Flame Photometer Verification Table

ATTACHMENT A

Osmometer Verification Table

END OF DOCUMENT