## XYZ SYSTEM
| DEVICE | [13 empty] | PROCESS/SYSTEM |  | CALIBRATION | [12 empty] | CRITICALITY
ITEM | ASSET | TAG | PARENT EQUIPMENT NO | MANUFACTURER | DESCRIPTION / MANUFACTURER / SERIAL No. | INST STATUS | MODEL | OLD MODEL | SER NO | OLD SER NO | PROBE | RANGE | OLD RANGE | ACCURACY | RANGE | ACCURACY | RANGE | FREQUENCY | LAST CAL DATE | PROT NO | PARENT ASSET | MAIN ASSET DESCRIPTION | SYSTEM | ORIG SITE | U/C No | PRESENT STATUS | LAST CAL DATE | CURRENT POSITION | EQUIP REF (S No.)
1 | HPSN0228 | YE07 004 |  |  | Temperature & Humidity Sensor Supplier 1 Serial number 1 | [6 empty] | -20 TO +80oC 0 TO 100%RH |  | ± 0.5oC ± 2% RH | 15 to 25oC 40 - 100 %RH | ±2oC ± 10%RH | 10 / 20 / 30 OC 30 TO 100 %RH | 6 MONTHS | [11 empty] | PRODUCT CRITICAL
2 | HPSN0229 | YE07 005 |  |  | Temperature Sensor Supplier 2 Serial number 2 | [6 empty] | 0 TO 60oC |  | ± 0.5oC | 15 to 25oC | ±4oC | 10 / 20 / 30 OC 11.4 / 54.1 / 74.7 %RH | 6 MONTHS | [11 empty] | PRODUCT CRITICAL
3 | HPME0249 | FE07 001 |  |  | Static Air Pressure Transmitter Supplier 3 Serial number 3 | [6 empty] | 0 TO 250 Pa |  | ± 2 Pa | 60 TO 200 Pa | ± 15 Pa | 50 TO 250 Pa | 6 MONTHS | [11 empty] | PRODUCT CRITICAL
4 | HPME0250 | FE07 002 |  |  | Bag Filter Supplier 4 Serial number 4 | [6 empty] | 0 TO 500 Pa |  | ± 2 Pa | 100 TO 400 Pa | ± 20 Pa | 50 TO 450 Pa | 1 YEAR | [11 empty] | PROCESS CRITICAL
5 | HPME0251 | FE07 003 |  |  | Pre-Filter Supplier 5 Serial number 5 | [6 empty] | 0 TO 250 Pa |  | ± 5 Pa | 0 TO 250 Pa | ± 20 Pa | 0 TO 250 Pa | 1 YEAR | [11 empty] | PROCESS CRITICAL
6 | HPME0252 | FE07 004 |  |  | Bag Filter Supplier 6 Serial number 6 | [6 empty] | 0 TO 500 Pa |  | ± 10 Pa | 0 TO 500 Pa | ± 50 Pa | 0 TO 500oC | 1 YEAR | [11 empty] | NON CRITICAL
7 | HPSN0230 | YT07 001 |  |  | Duct Temperature Sensor Supplier 7 Serial number 7 | [6 empty] | -30 TO +35oC |  | ± 0.5oC | -5 to +35oC | n/a | 12oC | 1 YEAR | [11 empty] | NON CRITICAL